## JNIOR JMP DLL C++

General
[X] Must be able to get the DLL Version
[X] Must be able to handle connections to multiple JNIORs
[X] Must be able to handle multiple connections to the same JNIOR
[X] Must be able to handle connection loss
[ ] Must be able to reconnect
[ ] Must be able to set whether to reconnect or not
[X] Must handle the keep-alive

Callbacks
[X] Must be able to assign a callback for connection status
[X] Must be able to assign a callback for authentication
[X] Must be able to assign a callback for the monitor packet

Connection
[X] Must be able to create a connection to a JNIOR by IP Address
[X] Must be able to issue a connect call
[ ] Must be able to get if a connection is actively connected
[X] Must be able to get if a connection is actively logged in

[X] Must be able to send Login

Internal IO
[ ] Must be able to invert input channel
[ ] Must be able to get inputs mask
[X] Must be able to get input state by channel
[ ] Must be able to get the counter for a given input channel
[ ] Must be able to get the usage meter for a given input channel

[ ] Must be able to reset a latch for a given input channel
[ ] Must be able to reset the counter to zero for a given input channel
[ ] Must be able to reset the usage meter for a given input channel

[ ] Must be able to get outputs mask
[X] Must be able to get output state by channel
[ ] Must be able to get the usage meter for a given output channel
[ ] Must be able to reset the usage meter for a given output channel

[X] Must be able to Close an Output
[X] Must be able to Open an Output
[X] Must be able to Toggle an Output
[X] Must be able to Close Pulse an Output
[X] Must be able to Open Pulse an Output
[ ] Must be able to block Close multiple Outputs at once
[ ] Must be able to block Open multiple Outputs at once
[ ] Must be able to block Close Pulse multiple Outputs at once
[ ] Must be able to block Open Pulse multiple Outputs at once

External Modules
[X] Must be able to enumerate connected devices

[X] Must be able to read a temperature probe by module id
[X] Must be able to read a temperature probe by temperature channel

[X] Must be able to read an Environmental Sensor by module id
[ ] Must be able to read an Environmental Sensor by channel

[X] Must be able to read a Ten Volt Module by device Id
[X] Must be able to write a Ten Volt Module by device Id
[X] Must be able to set a Ten Volt channel by channel number and percentage

[ ] Must be able to read a Four-Twenty Ma Module by device Id
[ ] Must be able to write a Four-Twenty Ma Module by device Id
[ ] Must be able to set a Four-Twenty Ma channel by channel number and percentage

[ ] Must be able to read a Control Panel Module by device Id
[ ] Must be able to write a Control Panel Module by device Id
[ ] Must be able to set a Control Panel LED channels status
[ ] Must be able to play an alarm on the Control Panel
[ ] Must be able to silence an alarm on the Control Panel

[ ] Must be able to read a Three Channel Dimmer Module by device Id
[ ] Must be able to write a Three Channel Dimmer Module by device Id
[ ] Must be able to set a Three Channel Dimmer Module channel
[ ] Must be able to fade a Three Channel Dimmer Module channel
[ ] Must be able to set multiple Three Channel Dimmer Module channels at once
[ ] Must be able to fade multiple Three Channel Dimmer Module channel at once

Registry
[X] Must be able to read multiple registry keys at once
[ ] Must be able to write registry key values
[ ] Must be able to write encrypted registry key values

File System
[ ] Must be able to list files in a directory
[ ] Must be able to make a directory
[ ] Must be able to read a file
[ ] Must be able to read a large file
[ ] Must be able to write a file
[ ] Must be able to remove a file
[ ] Must be able to rename a file

Console Session
[ ] Must be able to start a console session
[ ] Must be able to close a console session
[ ] Must be able to send commands to the console session
[ ] Must be able to receive responses from the console session
[ ] Must be able to send a command and wait for the prompt to gather the response

Application Messaging
[ ] Must be able to send messages to applications
[ ] Must be able to receive messages from applications